Texas Tech University Health Sciences Center El Paso

Environment of Care (EOC)

Fire Safety Management Plan

Environment of Care (EOC)

Fire Safety Management Plan

Contents

- Mission

- Authority and Organization

- Objectives and Purpose

- Responsibilities and Functions

- Interim Life Safety Measures

- New Construction

- Testing and Procedures

- Life Safety Policies

- Training and Education

- Information Collection and Evaluation Systems ICES

- Performance Improvement Indicator

- Corresponding Policies

Attachment – A   TTUHSC El Paso Building Locations

Texas Tech University Health Sciences Center El Paso

Environment of Care (EOC)

Fire Safety Management Plan

- Mission

The purpose of this plan is to promote, implement and administer a comprehensive life safety and fire prevention program for Texas Tech University Health Science Center El Paso (TTUHSCEP). The plan identifies various prevention and mitigation techniques used to create and maintain a safe environment for employees, students, patients and visitors. The contents of this plan shall comply with the most recent edition of NFPA 101 (Life Safety Code) and NFPA 1 (Fire Code).  Additionally, all building design criteria for elements of the Environment of Care (EOC) must comply with the most recent edition of the International Building Code (IBC) and International Fire Code (IFC).

(Please see Attachment A for the list of locations covered by this plan)

- Authority and Organization

The Safety Committee functions as the oversight body of the TTUHSCEP Fire Safety Management Plan and its resulting policies. Program implementation is the responsibility of Physical Plant and Support Services through Safety Services (SS), and Facilities Operations and Maintenance (FOM).

- Objectives and Purpose

The objective of this plan is to provide a reasonable level of safety for building occupants by reducing the probability of injury or death from the effects of fire and/or explosions.  This is accomplished through fire prevention and fire response education, to include:

- R-A-C-E procedures

- Hands-on fire extinguisher training

- Fire evacuation exercises (fire drills)

- Incident reporting procedures

- Pre-fire planning with the local fire department

- Elimination of ignition sources

- Early detection of smoke and/or fire

- Building evacuation

- Control of the fire development

- Confinement of the effects of fire

- Extinguishment of the fire

- Investigation of all fire related incidents

- Responsibilities and Functions

- The Safety Committee (SC) is responsible for:

- Annual evaluation of the Life Safety Management Plan’s, scope, objectives, performance.

- Ongoing review and analysis of plan effectiveness in accordance with established performance indicators.

- Physical Plant & Support Services / Safety Services (SS) is responsible for:

- Management, enforcement and audit responsibility for all life safety and fire prevention programs, including:

- Recognition and reporting of fire safety issues related to the facilities, equipment and conditions utilizing an annual building safety inspection program.

- Evaluating fire protection deficiencies in existing buildings

- Identifying potential fire protection deficiencies in new building designs through plan review.

- Interim Life Safety Measures (ILSM)

- Inspection of all fire suppression systems and fire protection equipment.

- Physical Plant & Support Services / Facility Operations & Maintenance (FOM) is responsible for:

- Establishing a Preventive Maintenance Program in accordance with the Joint Commission standards and applicable NFPA standards.

- Physical Plant & Support Services / Engineering Services is responsible for:

- Working with registered design consultants to ensure all building code requirements are met.

- Complying with design criteria referenced by the healthcare community.

- ILSM program implementation.

- Evaluating proposed acquisitions of furnishings, interior decorations, materials and other equipment to insure compliance with adopted fire safety standards.

- Clinical Department Staff are responsible for:

- Identifying and training staff on evacuation procedures.

- Identifying and training staff on specific roles and responsibilities for any emergency response, including evacuation of patients and staff.

- Interim Life Safety Measures (ILSM)

The introduction of "outside” workers and activities associated with construction projects creates additional risk of fire in our facilities.  ILSM are intended to provide a reasonable level of fire and life safety in all construction areas. When hazards are identified, the Sr. Director of FOM, or his designee and personnel from Safety Systems shall implement ILSM and notify the appropriate personnel about identified deficiencies.

ILSM include, but are not limited to:

- Physical separation between construction zone and occupied areas

- Placement of extra fire extinguishers

- Placement of warning signs

- Secondary egress designation

- Establishing a fire watch

- Issuing Hot Works Permits

- Pre-construction review meetings for all projects

- Regular construction site inspections

- New Construction/Renovation

When designing new construction projects, TTUHSCEP recognizes the Texas Accessibility Standards (TAS) and Americans with Disabilities Act (ADA) regulations must be followed.  Additionally, the TTUHSCEP Fire Marshals are responsible for reviewing plans for new construction and ensuring compliance with current NFPA standards and applicable building codes. The term “new construction” includes facility additions and major renovations.

- Testing and Procedures

TTUHSCEP FOM and SS shall implement maintenance, testing and inspection procedures to support the operational reliability of fire, life, and safety systems in order to reduce the occurrence of false alarms. The following systems shall be maintained, tested, and inspected in accordance with current NFPA standards on a regular schedule:

- Automatic sprinkler systems and alternative fire extinguishing systems

- Fire detection and fire alarm systems

- Portable fire extinguishers

- Standpipe systems

- Building systems, including:

- Fire doors

- Fire smoke dampers

- Exit lighting

- Emergency lighting

- Life Safety Policies

- General Life Safety Practices:

- No source of open flame shall be permitted in non-laboratory areas.

- Portable electrical appliances are prohibited on campus. Departments with heating and cooling concerns shall submit a work order through WebTMA.

- Storage in egress corridors is prohibited.

- Christmas Trees and Decorations (Reference HSCEP OP 61.08)

- UL approved items only.

- Only flameproof artificial Christmas trees may be displayed.

- Christmas trees and/or decorations shall not obstruct any means of egress.

- Decorations shall be of non-combustible or fire-retardant material.

- Flame Spread for Furnishings, Draperies and Other Fabrics

- All purchases should be approved by FOM to ensure all building standards and policies are being met.

- Fire retardant coatings shall be maintained

- Smoking Policy

- Patients, staff and visitors are prohibited from smoking on any TTUHSCEP owned or leased property.

- Training and Education

All new employees are required to attend new employee orientation, and complete the New Employee Safety Orientation Program (NESOP). Required NESOP categories include Accident Prevention, Emergency Procedures, and Hazard Communication/Right to Know, Bloodborne Pathogens, Infectious Disease Exposure, and Safety Programs. All employees shall complete annual refresher training.  Options available include:

- Scheduling SS to make a customized presentation.

- Review of the Safety In-service Module.

- Online Safety Programs

- Computer Based Training (CBT) Programs.

- Information Collection and Evaluation System (ICES)

Information from life safety inspections, building inspections, fire alarm activations, and fire drill reports are gathered by the Department of Safety Services (DSS). A list of Life Safety Code deficiencies shall be maintained by TTUHSCEP Fire Marshal and forwarded to TTUHSCEP FOM for corrective action.

- PERFORMANCE IMPROVEMENT INDICATOR

The performance criteria for staff knowledge of fire emergency procedures and emergency actions are evaluated by TTUHSCEP Fire Marshal based on evacuation drills, successfully completing New Employee Safety Orientation Program (NESOP) training, and observed preparedness.

• The fire evacuation benchmark is less than 6 minutes for all evacuation drills conducted in all facilities.

• Staff participation in fire evacuation drills shall be 90% or better.

- CORRESPONDING POLICIES

- Construction Code Requirements Board of Regents Policy 08.06.1

• 	Hazardous Material Incidents, TTUHSCEP OP 75.03

• 	Compliance with National Fire Protection Association Standards, HSC OP 75.04

• 	Corridor Storage, TTUHSCEP OP 75.06

• 	Elevator Usage, TTUHSCEP OP 75.07

- Use of TTUHSCEP Grounds, Facilities and Amplification Equipment, TTUHSCEP OP 61.07

- TTUHSCEP Fire and Life Safety Policy, TTUHSCEP OP 75.16

• 	TTUHSCEP Safety Manual

• 	TTUHSCEP Laboratory Compliance Manual

- TTUHSCEP Radiation Safety Manual

Environment of Care (EOC)

Fire Management Plan

Attachment - A

# Texas Tech University Health Sciences Center El Paso

# Locations

The following is a list of the locations complying with this Plan:

| Code | Building Name | Address |
| --- | --- | --- |
| 3001 | Clinical Sciences Building | 4801 Alberta Ave, El Paso, Texas 79905 |
| 3502 | El Paso Psychiatric Center | 4615 Alameda Ave, El Paso, Texas 79905 |
| 3508 | Kenworthy Clinic | 9849 Kenworthy St. El Paso, Texas 79924 |
| 3527 | Mesa Psychiatric Center | 800 N. Mesa St. El Paso, Texas 79902 |
| 3535 | Medical Office Building | 2000 B Transmountain Rd. El Paso, Texas 79911 |
| 3104 | Northeast Medical Clinic | 9830 Gateway North Blvd. El Paso, Texas 79924 |