Texas Tech University Health Sciences Center El Paso

Environment of Care (EOC)

Utility Systems Management Plan

Environment of Care (ECO)

Utility Systems Management Plan

Contents

- Mission

- Authority

- Structure of Facilities & Services

- Responsibilities

- Implementation

- TTUHSCEP Clinic, Laboratory, Infectious, Pathological, Hazardous and Radioactive Waste Streams

- Training and Education

- Information Collection and Evaluation System (ICES)

Attachment – A TTUHSC El Paso Clinical Locations

Texas Tech University Health Sciences Center El Paso

Environment of Care (EOC)

Utility Systems Management Plan

I.	Mission

The mission of this plan is to promote a safe, controlled, comfortable environment of care that reduces the potential for organizational-acquired illness while assessing and minimizing risks of utility failures to ensure operational reliability of utility systems.

II.	Authority

Facilities & Services (FS) Senior Director is responsible for defining and administrating the Utility Systems Management plan.

III.	Structure of Facilities & Services (FS)

Texas Tech University Health Sciences Center El Paso (TTUHSCEP) Physical Plant is comprised of five departments:

1. Facilities & Services (FS): FS employs skilled and licensed tradesmen for building maintenance and minor Facilities & Services renovations. Participates in plan review of all construction contracts. All Facilities & Services positions are designated as essential/alternate personnel.

a) Environmental Services: FS employs skilled personnel and contracts services to ensure that the building and special services staff is effectively and efficiently providing the custodial services required to support the instructional, research, and public service objectives of the University.

b) Grounds Maintenance: FS employs grounds maintenance personnel to ensure that a safe exterior environment is maintained.

2. Safety Services (SS): Department that plans, implements and administers the TTUHSCEP Safety Programs involving Radiation Safety, Chemical Hazardous Waste, Life and Fire Safety, Indoor Air Quality Investigation, Occupational Safety Accident Investigation, Laboratory Safety, and Safety Education & Training. Assists administrators, deans and department chairs in meeting their assigned health, safety and environmental responsibilities to comply with safety regulations and guidelines and to meet accreditation, research funding agency requirements and provide employees, students and visitors a safe hazard-free environment.

3. Engineering Services (ES): Department responsible of providing technical and managerial expertise to support TTUHSCEP mission by delivering accurate and timely information of the buildings, maximizing the efficiency in the operation of the inventory of building systems and executing projects with quality, on time, within budget and safely. The three core functions of the department include project management, facilities information, and utilities management.

4. Business Services (BS): Department that provides support and oversight of the Physical Plant division’s various business operations. Business Services strives to improve the efficiency and effectiveness of these operations in support of HSC goals. Facilities Services consists of two core functional areas:

a) Finance: Facilities & Services liaison with the central departments of Finance and Administration. Business Services provides analysis and support of Facilities & Services finances.

b) Purchasing: Business Services provides acquisition support via the HSC’s procurement methods including TechBuy orders, P-card, and bidding.

5.  CMMS Administration:  Business Services serves as the administrator of the

Computer Maintenance Management System (CMMS) for Facilities & Services.

IV. Responsibilities

Facilities & Services is the primary response group for maintenance and operation of mission critical equipment, systems and components. The Sr. Director of FS is responsible for maintaining documentation related to systems reliability and performance. FS utilizes a Computerized Maintenance Management System (CMMS) to record planned and reactive maintenance activities associated with various systems. All technical trades within FS interact to ensure high standards are maintained in the environment of care.

V.  Implementation

FS utilizes an automated preventive maintenance program to generate work orders. The preventive maintenance program in place ensures that mission critical equipment, component and systems are reliable. Tasks and frequencies of the preventive maintenance program are set following manufacturers recommendations and historical PM information of the systems.

FS has various preventative maintenance (PM) contracts in place to service major mechanical, electrical and plumbing systems that service the clinical buildings owned by the Institution.

FS utilizes infrared thermography to identify potential problems in the secondary electrical distribution system. Thermal video imaging is used to record component performance under load conditions. Potential problematic areas are then recorded with recommendations for preventive or corrective action. Corrective actions that require shutting down equipment are properly coordinated with affected users.

FS regulates that use of power strips in patient care vicinity are only used for components of movable electrical equipment used for patient care that have been assembled by qualified personnel.  Power strips will meet UL 1363A or UL60601-1.

FS maintains emergency power supply that can be utilized for emergency equipment such as; lighting, exit signs, refrigerators and other safety or patient equipment that is identified as emergency equipment.

FS routinely performs preventive maintenance tasks aimed for testing emergency life safety system. Emergency transfer switches are also load and thermographic tested as detailed above.

FS maintains proper air quality levels by performing scheduled preventive maintenance tasks on all devices and equipment of the HVAC system. The filters of the air terminal units are on a replacement schedule and constantly monitored to maintain the proper air changes.

Natural gas meters and its distribution network are tested/certified on a yearly basis. Pertinent reports are submitted to the City of El Paso. The domestic water, irrigation and fire suppression system back-flow preventers are tested annually with reports sent to the city.

FS has preventive weekly maintenance tasks in place to keep the medical vacuum system operating at optimal conditions.

Facilities & Services installed radio antennas and repeaters on campus to provide reliable communication among the members of the operations’ teams. The radio system is designed as a component of the Campus Emergency Management Plan (EMP). The system provides immediate city-wide communication between essential personnel (Facilities, Safety, Security and Clinical Administration) in the event the emergency operations center is activated.

Facilities & Services utilizes architects, consultants and engineers for the production of construction documents, studies or reports needed to meet institutional objectives for life support, infection control, and environmental support systems. Most building components of mission critical systems are redundantly configured. The department of Information Technology (IT) is tasked with maintaining the network that supports communication equipment.

VI. Training and Education

Facilities & Services Technical Tradesmen participate in continuing education courses and seminars to remain current in the latest technologies, codes and best industry practices in plant maintenance and operation.

Facilities & Services employees participate in prescribed safety programs under the guidance of SS. Consultants and contractors are utilized to provide refresher trainings to FS staff members on likely risks, personal protective equipment (PPE), prevention, protection, exposure, and appropriate responses.

Unplanned utility outages are maintained at a minimum and tracked to continuously improve our operations by learning from unaccounted events. Procedural changes/modifications are communicated to involved parties.

VII. Information Collection & Evaluation System

System performance is monitored in several ways:

- Annual performance evaluations are conducted for personnel responsible for system maintenance

- Response is routinely evaluated to ensure appropriate action and communication

- Customer complaints and kudos are communicated within the group

- CMMS vibration monitoring, and thermal imaging are utilized to facilitate predictive and planned maintenance activities for critical system components

- Preventive maintenance tasks are ensured through a quality assurance program that selects equipment items for follow-up inspections based on performance.

- Reporting and evaluation procedure exercised for system failures

The FS Administrative Staff will accomplish an annual evaluation of this plan to include operational considerations for each utility system. Details are located in FMO Policy A-1.

VIII. Corresponding Policies

Corresponding policies are cross-referenced in the EOC section of the policies matrix. Specific tasks and frequencies for systems preventive maintenance are defined in the FS, CMMS.

- Emergency Generator

FSBS ensures that the emergency generator is operational 24/7 to provide emergency backup to essential medical equipment and refrigerators identified exclusively for medication storage.

- Power Strips

The utilization of power strips in patient-care areas is only allowed under the following circumstances; the use will only be permitted in movable electrical equipment only when the assembly of this equipment is performed by qualified personnel. The power strips shall meet UL 1363A or UL 60601-1.

Attachment – A

Environment of Care (EOC)

TTUHSC El Paso Building Locations

# Texas Tech University Health Sciences Center El Paso

# Locations

The following is a list of the locations complying with this Plan:

| Building | Address | Location |
| --- | --- | --- |
| Texas Tech Physicians of El Paso | 4801 Alberta Ave | El Paso, Texas 79905 |
| Texas Tech Physicians of El Paso at Alameda | 4615 Alameda Ave | El Paso, Texas 79905 |
| Texas Tech Physicians of El Paso at Kenworthy | 9849 Kenworthy St. | El Paso, Texas 79924 |
| Texas Tech Physicians of El Paso at Mesa | 800 N. Mesa St. | El Paso, Texas 79902 |
| Texas Tech Physicians of El Paso at Transmountain | 2000 B Transmountain Rd. | El Paso, Texas 79911 |
| Texas Tech Physicians of El Paso Surgical Specialists | 9830 Gateway North Blvd. | El Paso, Texas 79924 |