[image: image1.png]=] HSC_EP_DbIT fl4C.if - Windows Photo Viewer =n b 9|+ Inbox - jose.melchor@ttuhsc.edu - Microsoft Outlook
File ¥ Print ¥ E-mail Bun ¥ Open ¥ (2] Home | Send/Receive Folder ~View Add-Ins  McAfee E-mail Scan  Adobe PDF
= Gugroe 3¢ (0 \Q Y B Meeting |23 projects 3 To Manager ;l N EEAJ Q \ i
i O Y0 g cieanup- - “® - 53 Team Emai ' Done 7 W‘FJ = [ Address Book
New New | Meet Schedule . Delete  Reply Reply Forward M Move Rules OneNote Assign Unread/ Categorize Follow | g Filer E-mail ~
E-mail Ttems~ | Now Meeting ~ &k Al By More - | |53k Reply & Delete & Create New - - Policy~ Read  ~ Up~ NAREARL]
New WebEx Delete Respond Quick Steps Move Tags Find
A Favorites Search Inbox (Ctrl < E ..
carchinbor (€l 2| RE: Golf Cart Training
L nbox (3) Arrange By: Date Newest on top Mancha. Mari
" Mancha, Marina
=3 sentItems [ Thelin,Alison  9:15AM
(5] Deleted Items (2) Updated Agenda for RSC... 9 Mon 2/6/2017 840 AM
Good morning Everyone, #Melchor, Jose
L5 mbox (3) Attached is the updated RSC N
S Agenda for Wednesday's Tose, —
1 mss1 “ | 2] CSHEMA Communications. e
[ N95 Training A Message from CSHEMA C... .Tui]t foll)lm_vi_nfg_ up tol the emalils belgw_. ..Did you end up sending it to Ms. Zen? Ifnot, I can go ahead
> @ Ocaurence Reports <httpy/portalmxlogiccom/ime and submit if it is alright. Please advise.
(21 odor N .
imothy Rei & rom: Vlancha, arina
™ (-4 Timothy Reitz 8:56 AM F Mancha, Mari
(1 personal RE: Bio-Medical Equipment
quip Sent: Monday, January 30, 2017 1:24 PM
e I Mancha, Marina _ 841AM To: Melchor, Jose <jose.melchor @ttuhsc.edu>
[ pictures (e Eelfi E ey Subject: RE: Golf Cart Training
Jose,
@ e
[l T Just following up to the emails B .
| Projects below...Did you end up To confirm, will you send it to Ms. Zen?
@B Purchasing Chemiical Report (-4 Payroll Services—Unanend.ed
Exempt Leave Report Remin. From: Melchor, Jose
[ Radiation Waste 2 Velez, Beatr e, : g
31 Renee With elez, Beatriz Thu 2/2 Sent: Monday, January 30, 2017 11:34 AM
o e e - Laboratory Animal Artce fo To: Mancha, Marina <Marina.Mancha@ttuhsc.edu>
Bick Chacnn = iz":’d“ Chyn""‘:n?"é" 1730 Cc: Shanks, Calvin <calvin.shanks @ttuhsc.edu>; Sanchez, David E <david.e.sanchez@ttuhsc.edu>
) mail ague skt tesing Subject: RE: Golf Cart Training
5] calendar Hello Marina,
(8] comaces Changes are okay. | will make changes to my master copy and submit for approval. Please note that it will take
_ = some time to process through and update policy in our website.
@ = ] Tasts
Jgom@- Thank vou. b
9:15 AM
D (SIS s 7 Unread:3 | This folder is up to date. [] Connected to Microsoft Exchange ||l 8 100%





                   Department of Safety Services

Texas Tech University Health Sciences Center El Paso

Environment of Care (EOC)

Medical Equipment Management Plan

Environment of Care (EOC)

Medical Equipment Management Plan

Contents

I. Objective and Purpose
II. Selection and Acquisition

III. Equipment Inventory

IV. Equipment Inspection, Preventive Maintenance and Testing

V. Equipment Repair

VI. Equipment Disposal

VII. Equipment Training User Orientation and Education

VIII. Safe Medical Device Act SMDA

IX. Loan or Rented Equipment

X. Purchasing / Leasing Equipment

XI. Request for Biomedical Equipment Services

XII. Performance Indicators

       Attachment A
Medical Device Information Sources

       Attachment B    
TTUHSC El Paso Building Locations

Texas Tech University Health Sciences Center El Paso

Environment of Care (EOC)
Medical Equipment Management Plan

I. Objective and Purpose

The medical equipment management plan is designed to describe processes to manage the effective, safe, and reliable operation of medical equipment used for diagnosis, treatment, monitoring and care of patients as well as other fixed and portable electrically powered equipment, within the Texas Tech University Health Sciences Center El Paso (TTUHSCEP) ambulatory clinics, Paul L. Foster School of Medicine and Gayle Greve Hunt School of Nursing. (See Attachment B for a listing of locations that need to comply with this Plan)

II. Selection and Acquisition

Selection and acquisition should be in accordance with Health Science Center (HSC) Operations Policy (OP) 72.01. The decision to acquire new medical equipment in each department is the responsibility of the Department Chair taking into consideration the following: equipment function, physical risks associated with the use, equipment incident history, and availability of like equipment.
Recommendations for standardizing equipment should be directed by the Director of Clinical Operations/Clinic Operations Committee Chairman with the Safety Committee to review as appropriate. Each piece of medical equipment in the School of Medicine is inventoried, evaluated, tested, and maintained to perform properly and safely. The Purchasing Department is equipped to be a source, reference and information center for all equipment purchased and can be reached at 215-4554. Additional medical device information is available through the Food and Drug Administration (FDA) (see Attachment A).

III. Equipment Inventory

Each department will designate an individual responsible for the maintenance of medical equipment records which are current, accurate and unique.  It should include:
1. Inventory of Medical Equipment in the department/clinic

2. Maintenance schedule

3. Preventive maintenance service records

4. Copies of any Occurrence Reports related to equipment




Maintenance schedules and service records must be available for review and will be requested periodically to ensure proper quality controls. The Service Contractor should be notified by the Clinic Administrator or designee of new equipment for initial safety testing and to be added to routine preventive maintenance schedule.

IV. Equipment Inspection, Preventive Maintenance & Testing

Inspection, preventative maintenance, and testing should be conducted to achieve effective, safe, and reliable operational and functional checks of all inventoried medical equipment.  On yearly basis, electrical safety inspections are performed via a centralized contract through Agiliti

 Health, or in accordance with equipment manufacturer’s recommendations.  Equipment repairs will
 be serviced through the same provider; departments will need to contact the provider directly to schedule any needed services.
V. Equipment Repair

Equipment which malfunctions, fails or exceeds the service calibration schedule will be taken out of service and removed from patient care usage and tagged “Out of Service”.  The  RN Manager or other person designated by clinical leadership will be responsible for this task.  If the equipment is of a fixed nature and cannot be removed it shall be tagged and disabled in such a manner as to preclude subsequent use. The Service Contractor should be notified and the equipment not be put back into service until the fault problem has been corrected and certified safe. This process will continue until the equipment is no longer in service or until the equipment is traded or declared obsolete, un-repairable surplus.

Special consideration must be given to x-ray, radiation and laser producing equipment before purchasing, moving, or disposal; consult with Safety Services first, mostly for radiation control purposes. 

Any equipment malfunction or failure should be reported, reviewed, tracked and trended by completing an Occurrence Report, forwarded to the Office of Quality Improvement and reported to the Campus Safety Committee and Risk Management.  An investigation for cause and effect and action plan, as appropriate, should be prompted in either of the following cases:

1. The equipment malfunction is determined to have placed patient safety at significant risk. (Safe Medical Devices Act, 1990).  

2. A trend is identified.

VI. Equipment Disposal

Equipment belonging to TTUHSCEP will be disposed of by appropriate coordination and documentation in accordance with applicable HSCEP OP 63.10 Property Management, HSCEP OP 7201 Purchasing Supplies, Equipment and Services, and HSCEP OP 63.11 Disposal of Surplus, Obsolete, or Uneconomically Repairable Inventory.
VII. Equipment User Training, Orientation & Education

1. Each Clinical Department is responsible in providing equipment training. This training shall be provided in response to identified needs and core competencies, which enable each employee to perform duties more effectively and efficiently as well as improving capabilities, knowledge and safety relating to the performance of their duties. Equipment training shall include emergency clinical interventions during failures. All training shall be documented with the name of the person, date, equipment and specifics of what the training consisted of. 
2. TTUHSCEP treats equipment training as a risk-based function. The education requirement addresses the reality that satisfactory equipment performance depends on a trained operator. 

3. Each piece of equipment on the departmental inventory listing shall be assessed for risk to determine the appropriate training frequency. Training shall be conducted before use and as needed
. Indicators for “as needed” training will be user error, past failures, incidents, new procedures or procedures that have changed significantly.


4. Annual

 training is required on equipment that is identified in the department inventory listing as
 high-risk user items.

5. Training may be provided in any of the following formats: departmental, vendor training (including phone conversations, videos and written documentation), seminars and training from supervisors or other appropriate staff.
VIII. Safe Medical Device Act - SMDA

1. To describe the criteria that is used to identify and document device-related incident(s) and/or reasonable suspicion of device-related incident(s) causing serious illness, injury, or death to patients. Medical device user facilities subject to the reporting requirement of the SMDA include: Outpatient treatment facilities that provide non-surgical therapeutic care on an outpatient basis. Examples of services provided by outpatient treatment facilities include: cardiac defibrillation, chemotherapy, radiotherapy, pain control, dialysis, speech or physical therapy, and substance abuse treatment.

2. Device is defined as: “Any instrument, apparatus, or device (either electrical or non-electrical) that is used to prevent, diagnose, or treat a disease or affects the structure/function of the body”. Examples would include all electrical support: equipment, implants, catheters, thermometers, syringes, pumps, etc.

3. Employee, Clinic Administrator, Resident Physician, Medical Staff Responsibility:

a. An Unusual Occurrence Report must be filed with Quality Improvement or Risk Management in all cases where there is reasonable suspicion of a device-related occurrence causing serious illness, injury, or death of a patient.

b. Reporting of incidents is the responsibility of employees, departmental directors, attending and resident staff personnel. 

c. Appropriate SMDA forms and instructions for completion are available on the following website: https://www.fda.gov/safety/medwatch/howtoreport/downloadforms/default.htm 
d. The Code Manual for this form is at: 
https://www.fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/UCM095266.pdf 

e. Reports will be sent within ten working days to The Food and Drug Administration (FDA) and the manufacturer if patient death occurs. Incidents that cause or contribute to serious illness or injury will be sent to the manufacturer if known, to the FDA if unknown.  

f. Each department’s Equipment Program data must be readily available for committee review.

 4. Service Evaluation Committee Responsibilities (Safety Committee) 

a) Evaluation of device related events with any identified trends referred to Professional Liability Risk Management.

b) Medical Device Reporting User Facility Report will be complete. 

c) A semi-annual summary report will be sent to the FDA for all incidents that have been reported to the manufacturer (January and July)  

d) Submittal of reports to the (FDA) and manufacturer is the responsibility of the Performance Improvement Department.
IX. Loan or Rented Equipment

It is the policy of TTUHSCEP to own its equipment when feasible. Equipment may be rented to meet an emergency condition.  

1. Rental of equipment must be approved in advance by the appropriate Departmental Chair and the Information Technology Department if the equipment needs to interface with the Electronic Medical Record (EMR) Software.

2. All rented, loaned, or borrowed equipment must meet safety certification prior to being placed into service.

X. Purchasing / Leasing Equipment

It is recommended for Clinical Departments that are purchasing or leasing new equipment to inform the Technology Department (IT) prior to the ordering of the equipment.  IT will review and assess that the equipment being ordered is compatible with our EMR software. 

XI. Request for Biomedical Equipment Services

All clinical departments are responsible for contacting the contract vendor to arrange for any needed equipment repairs.
XII. Performance Indicators

The objectives, scope, performance, and effectiveness of the Medical Equipment Management Plan shall be evaluated annually. Performance measures to be evaluated on an ongoing basis include
:

a. Equipment malfunction or failure

b. Associated patient or staff injury

c. Trends identified


Attachment - A

Medical Device Information Sources

The FDA has released its most recent version of the Manufacturer and User Facility Device Experience Database (MAUDE), which lists reports of adverse events involving medical devices.
The data consist of all voluntary reports made since June 1993, user facility reports since 1991, distributor reports since 1993, and manufacturer reports since August 1996. The FDA’s Center for Devices and Radiological Health (CDRH) also has an online search capability that can produce information about devices that may have malfunctioned or caused a death or serious injury. 

To download the MAUDE files, visit  https://www.fda.gov/medical-devices/mandatory-reporting-requirements-manufacturers-importers-and-device-user-facilities/manufacturer-and-user-facility-device-experience-database-maude  
To search the CDRH database, visit https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfRL/REGSimpleSearch.cfm
Another source of information for health care professionals can be found on the ECRI Web site. This nonprofit health services research agency provides an online database of reports based on ECRI investigations of medical device failures, and related injuries and deaths over several decades. Its goal is to provide information to help avoid “design and quality assurance problems and human factors limitations that increase the incidence of medical and user error,” according to ECRI.

To access the database, visit
www.ecri.org 

On the search tab write in Medical Device Safety Reports case studies of medical device errors/
Attachment – B
Environment of Care (EOC)

Medical Equipment Management Plan

Texas Tech University Health Sciences Center El Paso 

Locations
The following is a list of the locations complying with this Plan:

	Building
	Address
	Location

	Texas Tech Physicians of El Paso
	4801 Alberta Ave
	El Paso, Texas 79905

	Texas Tech Physicians of El Paso at Alameda
	4615 Alameda Ave
	El Paso, Texas 79905

	Texas Tech Physicians of El Paso at Kenworthy
	9849 Kenworthy St.
	El Paso, Texas 79924

	Texas Tech Physicians of El Paso at Mesa
	800 N. Mesa St.
	El Paso, Texas 79902

	Texas Tech Physicians of El Paso at Transmountain
	2000 B Transmountain Rd.
	El Paso, Texas 79911

	Texas Tech Physicians of El Paso Surgical Specialists
	9830 Gateway North Blvd.
	El Paso, Texas 79924

	
	
	

	
	
	

	
	
	


�Is there a standard form we should be using to capture this information?  Is there a centralized repository for this information?  


�There is not a standard universal form the institution uses. There is a repository that agility created and updates. 


�There is no standard form to capture information.  It is up to the individual Department/ Unit to develop a standard of documentation.  This has been confirmed with the Agiliti Representative.  


�


�Can you confirm this is happening?  Who is responsible to coordinate this work? The verbiage is clear on the department’s responsibility should an issue come up we will call Agiliti for repair, but its unclear who coordinates the electrical safety inspections.  


�We can verify that Agility is executing electrical safety inspections, as part of their contract. It is currently handled by the clinics. As the issuing department of the contract, Facilities currently is responsible for requesting the inspections get completed. 


�Agiliti performs the electrical safety inspections as a part of the contract.  It is handled by the clinics.  Inspections are scheduled annually and tracked by the Company.  They either contact the Department Representatives or the Department contacts Agiliti.    


�Agiliti performs the risk assessment.  It is based on ISO 13485 which is an international standard that outlines the requirements for a quality management system.  This risk assessment is also based on the manufacture recommendation and the level of risk that is assumed while being used on a patient in failing such as a ventilator or imaging instrument. The staff utilizing the instruments is responsible for conducting training.  


�Who is responsible for assessment of risk on each piece of equipment.  How is “appropriate training frequency” determined and who is communicating this? 


�That is up to each department. Medical equipment is not in our realm of expertise. We do not have Biomedical Technicians or Engineers on staff. The training frequency should really be determined by the leadership/administrative staff who oversee the end users of the equipment. 


�How are high risk user items identified and by who?


�That is up to the clinics and department leadership of the departments using the equipment. Facilities does not utilize medical equipment. We specialize in infrastructure equipment. 


�Risk user items are identified by associated risk on a scale of 1-9 dependent on the risk of failure while being utilized on a patient.  


�The KPI are tracked throughout the year and discussed at the EOC meetings where Department as well as Agiliti Representatives meet and discuss the potential trends of malfunction, failure or injuries as well as success.  


�Who is tracking this annually?  


�Because, Facilities owns the contract we will be responsible for collecting this information and establishing KPI’s. 





Environment of Care (EOC) Medical Equipment Management Plan
Page 1
(Revised 12/15/2025)  

[image: image1.png]